Infrastructure Committee Meeting Minutes

May 6, 2024

- Mr. Frost called the meeting to order at 8:30 p.m.

- Attendance: John Frost, Jim Wieringa, Mary Reineke, Mike Langford, Justin Tegels, Carol Goller, Sandy Battreall (Board member), Troy Weatherby (Managing Director)

- Old Business

  - Status Reports

    - We are reasonably sure we have found and the location of our water leak and repaired it; after a full 30 days of data we will be able to verify that was the culprit. One planned water outage repaired a pipe at the east end.

    - LS 9 engineering is final and components are here, so the project is ready for bid. LS 2 had a line break at the same spot as occurred previously. We will investigate to determine how to prevent recurrence.

    - One area around LS 5 will be reseeded.

    - Maintenance issues at the boat ramp and security building were flagged for repair.

    - The pool is being prepared for the season.

  - Utility rate data show we are still on target for 2024.

  - The committee along with the Dam Task Force spent significant time interviewing one dam engineering firm before the meeting, and will meet again Tuesday at 6 p.m. to interview the second company. The committee will then recommend its selection to the Board.

- No new business.

- Next committee + Dam Task Force meeting 6 p.m. Tuesday, May 7, 2024. Next committee meeting 6 p.m. Monday, June 3, 2024.

- The meeting adjourned at 9 p.m.