Date: 9/9/2025 
Started: 5:58 pm 
Ended: 6:20 pm 

Committee members present: 
Pam Curtis 
Hope Hibler 
Steve Oiness 
Chuck Sweeney 
Jim Wieringa
Tony Hemmer 
Troy Weatherby 
Lindsey Barrett (Board Rep.) 
David Hibler (Building Inspector) 

Request a Variance 
Lot # 2045 

Present: Ryan Hirsch 
Variance description: 
Allow new construction to be built with a 3/12 roof pitch instead of the 5/12 pitch outlined in the handbook. 
Committee Recommendation for the Board: (motion results)  
Deny at 3/12 but recommend to offer home owner variance at 4/12 due to engineering and lot configuration 
Motion Passed
