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	[bookmark: _Toc89994933][bookmark: _Toc225764775]Document and Section Affected: 
BLA Handbook: Section III Building Codes, M, 7



	Requested Change(s) (list paragraph, page, line, and change):  

From: Pergolas built within the fifty-foot setback on “A” lots   can be a maximum size of 192 square feet and no longer than sixteen feet or higher than twelve feet, and must have completely open sides, no screens, and a horizontal, flat, open slatted roof. Supports must be anchored to required frost footings. Only one pergola is allowed within the fifty-foot setback. Gazebos cannot be built within the fifty-foot setback.


[bookmark: _Hlk151454017]To: Pergolas built within the fifty-foot setback on “A” lots   can be a maximum size of 192 square feet and no longer than sixteen feet or higher than twelve feet, and must have completely open sides, no screens, and a horizontal, flat, open slatted or mechanically louvered (louvers must be designed to be open most of the time) roof. Supports must be anchored to required frost footings. Only one pergola is allowed within the fifty-foot setback. Gazebos cannot be built within the fifty-foot setback.

 

	Justification:  Why is this change needed?  
To update rules to match appeal committee and board decision. The mechanically louvered roof has been approved by the appeals committee and the board. This type of pergola design is being sold. The design of these pergolas keeps louvers open 90% of the time.


	Impacts:  If not approved, what are the consequences? 
We would have to have an appeal meeting every time someone wants to have one on their property. 


	Appropriate Committee:     Approve ____  Disapprove: ____      N/A:____     Date:

	Recommendations for the Board:
Committee:
Board:


	Approval Status:     Approved: _X_  Disapproved: ____          Date:  11-16-23

	Board Comments:
Approved as recorded at the 11-16-23 BOD Meeting
Updated Handbook:  11-21-23 (jjp)






