	BEAVER LAKE ASSOCIATION

DOCUMENT CONTROL FORM

	Requester    Appeals Committee
	Ctrl Number:
118
	Date     02/2008

	Document and Section Affected:      Beaver Lake Handbook section: III . 


	Requested Change(s) (list paragraph, page, line, and change):    Section III Building Codes   J. Detached Garages  4.          All garages must have a concrete pad immediately in front extending the entire width of the garage and at least 20’ in depth to the garage. Change to read.

 All Detached garages must have a concrete pad immediately in front and extending the entire width of the garage doors plus an additional eighteen inches on each side. The concrete pad must also have a minimum depth of 20’to the garage


	Justification:  Why is this change needed

There is confusion on concrete pads on garages



	Impacts:  If not approved, what are the consequences?


	Appropriate Committee:   Appeals :        X Approve __Disapprove: __N/A:  Date:   

	Recommendations for the Board:



	Approval Status:     Approved: __X __  Disapproved: ____          Date:  04/17/08

	


