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Members Present:

 Jim Wieringa (Committee Chairman) Sandy Battreall (Beaver Lake Board Representative), Troy Weatherby, (Operations Manager), Ramon Fusaro, Pat Diederich, and Dale Long were in attendance.  Ron Russell, Joe Penner & Mike Pfeiffer were absent.  The February minutes and agenda were reviewed and approved.  
Utility Functions:
              Last month there were two water and one sewer line breaks.  The water breaks were on Clubhouse Circle and Overlook Circle. The sewer break was at lift station #3.Water used for flushing the free chlorine analyzer at the Alternate Drinking Water Supply Building was estimated at 11,200 gallons (gal).  

New Business:  
-  Projects completed last month were:

1) Motor on Blower # 3 at sewage treatment plant 
2) Replace two VFD’s at sewer plant
- Projects scheduled for this month: 

1) Program new VFD’s at the sewage plant

2) Start design for replacement of sewage lift station # 10
3) Start plans for control panel & electrical control on lift station # 7
Next Meeting:

The next meeting is scheduled for 6:00 PM on April 6, 2015.
The meeting adjourned at 6:53.
