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Members Present:

 Jim Wieringa (Committee  Chairman) Sandy Battreall (Beaver Lake Board Representative), Troy Weatherby, (Operations Manager), Pat Diederich, Joe Penner, Dale Long, and Mike Pfeiffer were in attendance.  Joe Penner Ramon Fusaro, and Ron Russell were absent.  The April minutes were reviewed and approved.  The agenda was approved after adding the topic of new committee members.   
- New Business: 

- New Committee Members:  

-  Joe Penner has resigned from the committee due to a schedule conflict not allowing him to attend meetings.    Jim Wieringa said he has two people that may be interested in being on the committee.   After the meeting an email vote on new members was sent to committee members.  Jim will provide results, once he has received the votes.
Old Business:  


- Monthly report of Utility Functions:


- Last month there were no water or sewer line breaks.  Water used for flushing the free chlorine analyzer at the Alternate Drinking Water Supply Building was estimated at 10,800 gallons (gal).  
-  Projects completed last month were:
1) Opened campground building. 

2) Operation of new Variable Frequency Drives watched. New drives are working fine. 

3) 6 to 7’ of soil was removed from lot 169 
- Projects scheduled for this month: 

1) Remove moldy plywood from floor of Coconut Shack. (This probably will be reoccurring problem and permanent fix needed) 
 2) Components for Lift Station, LS, 7 are mounted.  Wiring of components and connection to OPPD equipment will be done in next week or two.  Work on LS 11 will start once LS 7 completed.

3) Three meter pits have been replaced.  Replacement of meter pits is on schedule.

Next Meeting:

The next meeting is scheduled for 6:00 PM on 1 June 2015.  The meeting adjourned at 6:49.
