                                                 BEAVER LAKE ASSOCIATION

                                                         UTILITY COMMITTEE

                                                               1 June 2015
Members Present:

 Jim Wieringa (Committee Chairman) Sandy Battreall (Beaver Lake Board Representative), Troy Weatherby, (Operations Manager), Pat Diederich,  Dale Long, Ramon Fusaro and Mike Pfeiffer were in attendance.  The May Minutes and today’s Agenda were reviewed and approved.     
- New Business: 

- New Committee Members:  

-  A motion was made and approved to recommend to the Beaver Lake Board, BLB, approval of Phillip Lamoureux and John Frost as new Utility Committee members.  
Old Business:  


- Monthly report of Utility Functions:


- Last month there were no sewer line breaks.  There was one water line break at 9813 Gabriella Drive.  An estimated 45,000 gallons were lost. Also an estimated 11,200 gallons were used for flushing the free chlorine analyzer at the Alternate Drinking Water Supply Building.  Total water losses last month were estimated to be 56,200.
-  Projects in progress or completed last month were: 

           1)      Electrical equipment is installed at Lift Station (LS) 7.  State will inspect and                             then Omaha Public Power District, OPPD, will switch power from old equipment to new.

2) Floor in the Coconut Shack was repaired and new sink was installed in bathroom.  State inspector also required new sink in work area for employees to wash their hands before approving work.
3) Last Saturday high level alarm went off at LS 14.  Repair required replacement of both level floats.
4) Last Friday one float at LS 10A also failed and was replaced.  Problem at both LS’s reported by LS auto-dialer.
5) New water slide at pool installed and approved by state for operation.

6)   Potable and non-potable water hydrants were installed at the campground.
7) Approximately 12 new meter pits installed so far this year.  Expect to have all     new pits installed by mid-September.

8) Approximately 10 new radio read meters are installed.  So basically all meters are radio read now and reading them only takes about 1 & ½ hours..  

- Projects scheduled for this month: 
1) Start planning and work on installing new electrical control equipment at LS 11.
2) Start design on LS 10 once BLB and finance committee allow funds to be committed.  A motion was made and unanimously approved by Committee to recommend BLB approve commitment of funds immediately. 

Next Meeting:

The next meeting is scheduled for 6:00 PM on 6 July 2015.  The meeting adjourned at 6:54.
