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Members Present:

 Jim Wieringa (Committee  Chairman) Sandy Battreall (Beaver Lake Board Representative), Troy Weatherby, (Operations Manager), Ramon Fusaro, Pat Diederich, Joe Penner, Dale Long, and Mike Pfeiffer were in attendance.  Ron Russell was absent.  The December minutes were reviewed and approved.  The agenda was reviewed and one item dropped.  

- New Business:


Dam Inspection Report:



-  The state of Nebraska inspects all dams periodically.  This year they inspected Beaver Lake’s dam.   Pat Diederich PE works for the state and received a copy of the report.  He went over the report during the meeting.  There were no significant problems.  The things noted were fix cracks and spalling in the spillway and remove trees from the dam.  These items are normal maintenance and are being done routinely.    
Old Business:  


- Last month there were no water or sewer line breaks.  Water used for flushing the free chlorine analyzer at the Alternate Drinking Water Supply Building was estimated at 11,200 gallons (gal).  
-  Projects completed last month were:

1) Crane for the sewer lift system was fabricated and will be installed in March
2) Blower # 2 at sewage treatment facility was replaced approximate cost $5,400
3) Hot water heater installed in club house
- Projects scheduled for this month: 

1) Motor on Blower # 3 at sewage treatment plant will be replaced

2) Start design for replacement of sewage lift station # 10
3) Provide electrical surge protection for sewage treatment plant
Next Meeting:

The next meeting is scheduled for 6:00 PM on 2 March 2015.  The meeting adjourned at 6:58.
