                                                 BEAVER LAKE ASSOCIATION

                                                         UTILITY COMMITTEE

                                                              2 November 2015
Members Present:

 Sandy Battreall (Beaver Lake Board, BLA, Representative), Troy Weatherby, (Operations Manager), Jim Wieringa  (Utility Committee Chairman), Pat Diederich,  Ramon Fusaro, John Frost, Dale Long, Phil Lamoureux, and Mike Pfeiffer were in attendance.   The October  minutes and today’s agenda were reviewed and approved.  
- New Business: None
 
Old Business:  


- Monthly report of Utility Functions: 
There was an estimated loss of 11,200 gallons for flushing the chlorine analyzer at the Alternate Drinking Water Supply Building, ADWSB.  There was a water leak on Weeping Water Ct.  Water loss estimate is still being calculated and so total water loss also unknown at this time.  There were no metered water losses or sewer breaks last month.  

Troy presented a monthly water accountability table for 2015.  Average accountability to date is 84.18%.  This is the highest yearly average ever.  Troy’s goal is 92%.  In future Troy plans on going from valve to valve to check for leaks.
-Project Status:
Work on Lift Station, LS, 11 is complete.

A 60 foot boom crane was used to remove 4’ of Carbon from holding pond.  Carbon is piled up and draining.  Removal of carbon after it drains to a landfill is planned for this spring.

Architectural engineer, A/E, firm is working on design for replacement of LS 10.  Schedule is still to complete design by end of 2015 and get permit from state for replacement.

Staff is working on exercising and marking (where needed) all valves and flushing all fire hydrants.

Winterization of boat ramp restroom and North Water Tower pit will start shortly.
Next meeting: The next meeting is scheduled for 4 January 2016 at 6 P.M. The meeting adjourned at 6:38.
