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Members Present:

 Jim Wieringa (Committee Chairman) Sandy Battreall (Beaver Lake Board Representative), Troy Weatherby, (Operations Manager), Pat Diederich,  Dale Long, Ramon Fusaro  John Frost, Phil Lamoureux, and Mike Pfeiffer were in attendance.  The July Minutes and today’s Agenda were reviewed and approved.     
- New Business: None
Old Business:  


- Monthly report of Utility Functions:


- Last month there were no sewer or water line breaks.  An estimated 11,200 gallons were used for flushing the free chlorine analyzer at the Alternate Drinking Water Supply Building.  Total water losses last month were estimated to be 11,200.  Water accountability was 85 %.  
-  Projects in progress or completed last month were: 

1) Corrections to the electrical work at Lift Station, LS 7 required by state inspection were made and approved by the state inspector.  An operational certificate was provided but the inspector wants to review the power connection by Omaha Public Power District, OPPD.  Connection is scheduled for tomorrow weather permitting.
2) A meeting is scheduled with architect engineer firm for next week to start design of the replacement of LS10.

3) Electrical storm took out power last week.  All 7 radio dial alarms at lift stations reported loss of power. Lift stations were checked and put back in operation.  

4) The activated carbon retaining basin at the water plant is full. Sediment must be tested for metals to determine where sediment can be disposed.  Hopefully, it can be sent to a land fill. 

5) The 22 meter pits scheduled for replacement this year are installed.  Funds allowing work on 55 meters in pits without radio read capability will be started.

Next Meeting: The next meeting is scheduled for Labor Day.  A revised date will be determined.  The meeting adjourned at 6:58.
