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Members Present:

 Sandy Battreall (Beaver Lake Board, BLA, Representative), Troy Weatherby, (Operations Manager), Jim Wieringa (Utility Committee Chairman), Pat Diederich,  Ramon Fusaro, John Frost, Dale Long, and Mike Pfeiffer were in attendance. Phil Lamoureux was absent. The September minutes were reviewed and one change was made. The board requested that guests Jim Daly, Dave Goller and Dan Maloney be added to the list of attendees. Today’s Agenda was reviewed and approved.     
- New Business: 

- Budget:


Troy discussed status of 2015 budget approved projects:
Engineering retrofit of Lift Station, LS, 10 is started and scheduled to be complete by end of year. Also State Permit Application for this work will be complete by year end.
a) Water meter program will be completed shortly.

b) Surge protection for sewer water plant electrical service is complete.

c) Control panel for LS 7 complete.

d) Inspection/repair of South Water Tower will be accomplished next year.

e) Generator hookup for LS 11 should be completed next week.

f) Install fire hydrant will not be done.

2016 Proposed Capital Improvement Budget
a) Priority 1 Reserve for Retrofit of LS 10 $50,000

b) Priority 2 Meter Pit Meters $6,000

c) Priority 3 Generator hookup for LS 13 $4,500

d) Priority 4 Install Fire Hydrant $4,200

The above 2016 proposed budget was discussed and the Utility Committee voted to recommend approval by the Beaver Lake Board, BLB.   The vote wasn’t unanimous. One member felt strongly that LS 10 should be funded and replaced this year.
2016 Proposed Utility Operations Budget
a) Troy proposed an operations budget of $133,000 for the water plant.  This is slightly less than the 2015 budget of $133,280.

b) Troy proposed an operations budget of $94,000 for the sewer plant.  This again is slightly less than the 2015 budget of $94,475.  

The 2016 proposed operational budgets were recommended for approval by the BLB.


- Murray Fire Department (hydrants)
 

Dry hydrants are not feasible due to lack of sufficient water depth at locations where a low head  pump can operate.

Old Business:  


- Monthly report of Utility Functions: 
Troy said that projects 306 thru 308 were completed this month.
They are Surge Protection at the Sewer Plant and sewer leaks repaired at Water Plant lift station and Sewer plant lift station. Also the effluent flow meter at the sewer plant broke.  It was repaired. The manufacturer said, that they sent us the last circuit board for that type of meter. If the meter breaks again, a new meter will have to be purchased.

There were no water or sewer line leaks last month. Total water loss was estimated at 10,800 gallons used for flushing the chlorine analyzer at the Alternate Drinking Water Supply Building. 
Next Meeting: The next meeting is scheduled 2 November 2015 at 6 P.M. The meeting adjourned at 6:58.
