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Members Present:

 Sandy Battreall (Beaver Lake Board, BLA, Representative), Troy Weatherby, (Operations Manager), Jim Wieringa  (Utility Committee Chairman), Pat Diederich,  Dale Long, Ramon Fusaro, John Frost, and Mike Pfeiffer were in attendance.  Phil Lamoureux, was absent.  TheFebruary minutes and today’s agenda were reviewed and approved.  
Old Business:  


- Monthly report of Utility Functions: 
There were two water leaks and no sewer leaks in February.  The leaks were an estimated 302,400 gallons a on Verdon Circle and an estimated 20,000 gallons on Bellevue Drive. There also was an estimated loss of 10,400 gallons for flushing the chlorine analyzer at the Alternate Drinking Water Supply Building.  All losses were estimated and totaled 332,800 gallons. At Verdon Circle the service line broke in front of the meter about two weeks before the owners reported the problem.    
Work completed in January or scheduled for February:
1) Lift Station (LS) 10 plans were revised to incorporate Troy’s and John’s comments and sent to State for approval.
2) Lift stations were degreased.  
3) Electrical lines to Clearwater well valve vault repaired.
4) Pressurized sewer line installed to lot 517 and gravity sewer line to lot 526.       
New Business: None

Next meeting: The next meeting is scheduled for 4 April 2016 at 6 P.M. The meeting adjourned at 6:50.
