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Members Present:

 Sandy Battreall (Beaver Lake Board, BLA, Representative), Troy Weatherby, (Operations Manager), Jim Wieringa  (Utility Committee Chairman), Pat Diederich,  Ramon Fusaro, John Frost, Phil Lamoureux, and Mike Pfeiffer were in attendance.   Dale Long was absent.  The November minutes and today’s agenda were reviewed and approved.  
Old Business:  


- Monthly report of Utility Functions: 
There were no water or sewer leaks in December.  There was an estimated loss of 11,200 gallons for flushing the chlorine analyzer at the Alternate Drinking Water Supply Building, ADWSB.  Five Star plumbing used an estimated 500 gallons for pipeline water jetting.  There were metered losses of 8,700 gallons for fire hydrant flushing and 11,400 gallons for flushing flush outs.  Total estimated loss was 11,700 and total metered loss of 20,100 for a total loss of 31,800 gallons. 

Sewer influent from Murray was very high in December due to rains and runoff going into sewer system.  The contractual maximum annual influent for 2015 was nearly exceeded.  Murray has exceeded the maximum allowance in a previous year and a surcharge was added to their bill.  When that happened, Troy spoke to Murray personnel about the need to inspect and repair their sewer system.  
Work accomplished in December:
1) Lift Station 10 plans were completed and are ready to submit to state for permit.

2) Water main valves exercised and marked, fire hydrants flushed and flush valves flushed.

3) Lights replaced at boat ramp.

4) John and Troy looked at sewer system at Lake Ridge

5) Troy, John, Mike and Nick have taken online emergency management courses.  Darrell will also take them.  

6) Troy in process of putting annual state required reports together.

Troy presented a monthly water accountability table for 2015.  Average accountability to date is 84.28%.  This is the highest yearly average ever and 1% better than last year.  Part of this improvement is due to replacement of water meter pits.  An additional 114,000 gallons were billed this year where 15 pits were replaced.
-New Business:
The board approved four utility projects for 2016. They are:

1) Retrofit of Lift Station 10 $50,000 (Money to be reserved to pay for part of retrofit in 2017)
2) Meter pit replacement $3,000 (The request for $6,000 was reduced due to using 2015 dollars to buy meters.)

3) Generator hookup for Lift Station 13 $4,500

4) Install fire hydrant $4,200

Next meeting: The next meeting is scheduled for 1 February 2016 at 6 P.M. The meeting adjourned at 6:50.
