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Members Present:

 Sandy Battreall (Beaver Lake Board, BLA, Representative), Troy Weatherby, (Operations Manager), Jim Wieringa  (Utility Committee Chairman), Pat Diederich,  Dale Long, Ramon Fusaro, John Frost, Phil Lamoureux, and Mike Pfeiffer were in attendance.  The March minutes and today’s agenda were reviewed and approved.  
Old Business:  


- Monthly report of Utility Functions: 
There were two water leaks and one sewer leaks in March.  The water leaks were an estimated 49,000 gallons.  The leak on Beaver Lake Boulevard was estimated at 24,000 and the one on Murray Point was estimated at 25,000 gallons. There also was an estimated loss of 11,200 gallons for flushing the chlorine analyzer at the Alternate Drinking Water Supply Building.  Total estimated losses were 60,200  gallons.   
Work completed in March or scheduled for April
1) Lift Station (LS) 10 plans were reviewed by the State and their three comments have been incorporated.   Expect plans to be approved by State this week.  Troy will finalize elevations for influent and effluent pipes and plans will be complete.  
2) State inspected electrical work at LS 11and wants changes made to service line.  Inspector wants a separate ground wire in addition to the grounded neutral.  Service line wasn’t part of permit work and Troy feels no change is necessary.  Troy will work to resolve problem.    
3) Starting planning and purchasing electrical components upgrade at LS 13.
Environmental Protection Agency, EPA, is planning on changing regulations for drinking water testing because of problems at Flint Michigan.  Appears EPA will require additional testing for copper and lead.  This information was discussed at 21-23 March Rural Water Conference that Troy attended.  
New Business: None

Next meeting: The next meeting is scheduled for 2 May 2016 at 6 P.M. The meeting adjourned at 6:50.
