Beaver Lake Association Utility Committee

Unofficial Meeting Notes for March 6, 2017

Mr. Wieringa called the meeting to order at 6 p.m.

Members present: Jim Wieringa, Bill Haney, John Frost

Members absent: Phil Lamoureux, Jim Claypool, Ramon Fusaro, and Mike Bonnsetter

Others present: Troy Weatherby (Association Manager) and Dale Long (Board Representative)

Due to a lack of quorum, no official Committee business was conducted.

- Update of utility activities by Mr. Weatherby:

  - Water treatment plant operator interviews have been completed and a new operator has been hired. Employee training is underway.

  - Assembly of the control panel for LS 10 is underway. With the now improved staffing situation, plans are underway to wrap up construction of the lift station upgrade.

  - The newly purchased emergency backup generator for the lift stations was successfully tested out at each of the stations.

  - The new Jayhawk meter reading system is being checked for compatibility with the existing Neptune meters to ensure that the systems will talk to each other.

  - The utility field crew is currently identifying and removing a number of private frost proof hydrants. Many of these hydrants are very old and have a high potential for leakage at the base of the hydrant (these hydrants were designed for the riser to drain into the ground when the hydrant is shut off).

- Next meeting: 6 p.m. Monday, April 3, 2017.