Beaver Lake Association Utility Committee
[bookmark: _GoBack]Unofficial Meeting Notes for March 6, 2017

Mr. Wieringa called the meeting to order at 6 p.m.
Members present: Jim Wieringa, Bill Haney, John Frost 
Members absent: Phil Lamoureux, Jim Claypool, Ramon Fusaro, and Mike Bonnsetter
Others present: Troy Weatherby (Association Manager) and Dale Long (Board Representative)
Due to a lack of quorum, no official Committee business was conducted.
1. Update of utility activities by Mr. Weatherby:
a. Water treatment plant operator interviews have been completed and a new operator has been hired. Employee training is underway.
b. Assembly of the control panel for LS 10 is underway. With the now improved staffing situation, plans are underway to wrap up construction of the lift station upgrade.
c. The newly purchased emergency backup generator for the lift stations was successfully tested out at each of the stations.
d. The new Jayhawk meter reading system is being checked for compatibility with the existing Neptune meters to ensure that the systems will talk to each other.
e. The utility field crew is currently identifying and removing a number of private frost proof hydrants. Many of these hydrants are very old and have a high potential for leakage at the base of the hydrant (these hydrants were designed for the riser to drain into the ground when the hydrant is shut off).
2. Next meeting: 6 p.m. Monday, April 3, 2017.
