Beaver Lake Association Utility Committee

Meeting Minutes for June 5, 2017

Mr. Wieringa called the meeting to order at 6:00 p.m.

Members present: Jim Wieringa, Mike Bonnstetter, Bill Haney, John Frost, Troy Weatherby (Managing Director), Jeff Miller (Beaver Lake Board Representative).

Members absent: Ramon Fusaro, Jim Claypool, Phil Lamoureux.

- No agenda additions, approved unanimously.

- May minutes: no revisions, approved unanimously.

- Dale Long introduced Jeff Miller as our utility committee's board representative.

- New business:

  - Discussion of lift station #10 progress which should be done for the end of the month

    - Electrical panel, concrete, and vent work.

  - Updating meter pits will resume after work is done on lift station #10.

  - Water usage tracking has improved to 84.9%

  - During the power outages the lift station reporting systems work as expected.

  - Waste treatment plant pit was cleaned out with the use of a vacuum pump truck.

  - Further discussion on the Fournier sludge treatment machine, we are waiting for a response from them.

  - Scheduling a show and tell for all new members  after lift station #10 is complete.

- Next meeting TBA.

- Meeting adjourned at 6:55 p.m.