Beaver Lake Association Utility Committee

Meeting Minutes of Nov 6, 2017

Members present: Jeff Miller (Board Rep), John Frost, Jim Wieringa (Chair), Troy Weatherby, Bill Haney and Phil Lamoureux

Members absent: Mike Bonnstetter, Jim Claypool and Richard Randal

1. No agenda additions, approved unanimously.

2. October minutes: no revisions, approved.

3. Old Business

None

4. New Business

4.1 Discussed pump/motor for lift station #3 needing repair. Pump was 11 years old, repairs being done.

4.2 Processor for water treatment plant went bad, found a new one, last one in U.S. Processor was also around 12 years old.

4.3 Meter pit install almost finished and ability to monitor water loss is increased.  Fire hydrant flushing and valve exercising to begin.

4.4 Fournier sludge treatment machine to be demonstrated on December 11th.

4.5 All full time utility positions at Beaver Lake are filled.

5. Next meeting: To be announced.  Meeting adjourned at 6:55.

6. Meeting adjourned at 6:55 p.m.