Beaver Lake Association Utility Committee Meeting Minutes for March 5, 2018

Members present: Jeff Miller (Board Rep.), Troy Weatherby (Managing Director), Jim Wieringa, (Chair), John Frost, Bill Haney, Jim Claypool, and Richard Randal.

Members absent: Mike Bonnsetter, and Phil Lamoureux

- No agenda additions, approved unanimously

- January Minutes approved

- Old business – None

- New Business

  - Planning for South Water Tower paint and valve replacement.

  - Analyzing data from Fournier on the Rotary Press.

  - Installation of lot #695 water and sewer connections.

  - Water Plant influent flow meter spool valve needs replacing, having problems getting one that will fit in the confine space, working with the original manufacturer.

  - Water Plant Generator failed to start during power outage, found bad fuel valve and relays, replaced items, backup generator is up and running.

  - May - September the state will be taking water samples for pilot project.

  - Water valve in swimming pool shed will be replaced by March 2018.

- Meeting adjourned at 6:45p.m.