Beaver Lake Association Utility Committee Meeting Minutes for March 5, 2018
[bookmark: _GoBack]Members present: Jeff Miller (Board Rep.), Troy Weatherby (Managing Director), Jim Wieringa, (Chair), John Frost, Bill Haney, Jim Claypool, and Richard Randal.
Members absent: Mike Bonnsetter, and Phil Lamoureux
· No agenda additions, approved unanimously
· January Minutes approved
· Old business – None
· New Business 
·  Planning for South Water Tower paint and valve replacement.
· Analyzing data from Fournier on the Rotary Press.
· Installation of lot #695 water and sewer connections.
· Water Plant influent flow meter spool valve needs replacing, having problems getting one that will fit in the confine space, working with the original manufacturer.
· Water Plant Generator failed to start during power outage, found bad fuel valve and relays, replaced items, backup generator is up and running.
· May - September the state will be taking water samples for pilot project. 
· Water valve in swimming pool shed will be replaced by March 2018.
· Meeting adjourned at 6:45p.m.
