Beaver Lake Association Utility Committee
Meeting Minutes of July 2, 2018

Members Present: Bill Barrett (Bd Rep), John Frost, Jim Wieringa (Chair), Troy Weatherby, Bill Haney ,Phil Lamoureux, Jim Claypool and Richard Randal

Members absent: Mike Bonnsetter

1. No agenda additions, approved unanimously.
	
2. June Minutes: no revisions, approved.

3. Old business, none
3.1 None

4. New Business

4.1 Discussed repairs that were done on water plant filters. Everything seems to be working well. Some alarms were added and some software updates will be needed within the year.

4.2 New generator for waste treatment plant to be delivered around July 10, 2018 and will make arrangements to install.

4.3 Had a pressure sewer break on main and property hookup on Dawson Rd, big mess, but problem resolved. Committee discussed sewer plant maintenance on membranes and diffusers. A john boat is used to pull membranes and repair. BLA looking into getting small special designed pontoon with winch that would make maintenance/repairs easier and safer, done 3 times a yr.  UV bulbs also cleaned.    

4.4 Dredge repair in progress broken auger seal. Purchased another auger drive unit so that when repairs needed it can be interchanged and stay up and running. Water tower maintenance to be done in September.
      
[bookmark: _GoBack]     5. Next meeting: August 6, 2018. Meeting adjourned at 7:00 PM
