Beaver Lake Association Utility Committee

Meeting Minutes of Feb 5, 2018

Members present: Jeff Miller (Board Rep), John Frost, Jim Wieringa (Chair), Troy Weatherby, Bill Haney, Phil Lamoureux, Jim Claypool and Richard Randal

Members absent: Mike Bonnsetter

- No agenda additions, approved unanimously.

.

2. November Minutes: no revisions, approved.

3. Old business - None

4. New Business

4.1 Discussed water usage and yard hydrant removal, 7 scheduled by April. Fire hydrant flushing and valve exercising completed.

4.2 All meter pits installed 100% radio read. Readings can be done in 40 minutes. Washington County came to look over our system and very impressed and going to try to implement same.

4.3	Received 3 bids on 200 KW generators, Lite Power out of Texas $87,000 without installation and support. Cummins bid at $87,495 installed. Generators for sale, Generak $88,791 installed. Liked the Cummins bid for quality, price and our Water Plant has this type for back-up. Motion to purchase by Mr. Wieringa, seconded by Mr. Haney and voted to move forward unanimously by committee.

4.4 Fournier Sludge Treatment machine discussed and Troy will have a meeting Feb 21st with their engineer. Bid came in at around $220,000. Talked about benefits and cost effectiveness.

4.5 Water tower maintenance, painting, methods of sand blasting and cost savings if both done together.

5. Next meeting: March 5, 2018. Meeting adjourned at 7:00 p.m.