[bookmark: _GoBack]Beaver Lake Association Utility Committee
Meeting Minutes of May 7, 2018
 
Members present: Jeff Miller (Bd Rep), ,Jim Wieringa (Chair), Troy Weatherby, Bill Haney ,Phil Lamoureux, Jim Claypool and Mike Bonsetter
 
Members absent: John Frost and Richard Randal
 
1. No agenda additions, approved unanimously.
. 
2. April Minutes: no revisions, approved.
 
3. Old business, none
  
4. New Business
 
	4.1 Discussed dredge repairs should be finished around Wednesday. 
 
	4.2 Water loss and usage; resident had bad water leak that was fixed. 1” service line broken and repaired. One bad leak that still needs to be found.
 
	4.3 Continue removal of non-functional yard hydrants. Two were removed that were leaking substantially.   
 
	4.4 Generator back up for waste treatment plant being worked on.
      
	4.5 Wright tree service working around lake for OPPD trimming around power lines. No cost to association. 5 of 6 months possible works. 

	4.6 Pool repaired and being filled and we have need for lifeguards. Repaired mix/flush valve at campground fixed. Campground being used a lot.
 
5. Next meeting : June 4, 2018  Meeting adjourned at 7:00 p.m.

