Beaver Lake Association Utility Committee
Meeting Minutes of June 4, 2018
 
Members present: Bill Barrett and Fred Becker (Board Rep), John Frost, Jim Weiringa (Chair), Troy Weatherby, Bill Haney ,Phil Lamoureux, Jim Claypool and Richard Randal
 
Members absent: Mike Bonnsetter
 
[bookmark: _GoBack]1. No agenda additions, approved unanimously

2. May Minutes: no revisions, approved
 
3. Old business, none

4. New Business
 
	4.1 Discussed South water tower painting and valve replacement    planning is in progress. 
 
	4.2 Water filters at treatment plant not functioning properly. Not in sync with each other.  Work done will need a month to see if they are fixed and no repair needed.  May need to replace media in filters.
 
	4.3 New generator for waste treatment plane to be delivered by end of June instead of Sept. Preparations being done for placement and hookup. 
 
	4.4 Seven of our 16 lift stations are remote monitored and rest have lights that are checked often. Discussed remote installs on all LS’s to assure no EPA problems with backwater into lake. Also discussed portable generator use on LS’s and need to retrofit all so generator can be hooked up easily.
 
 5. Next meeting: To be announced.  Meeting adjourned at 7:00 p.m

