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Meeting Minutes of August 6, 2018

Mr. Wieringa called the meeting to order at 6 p.m.
Members present: Jim Wieringa (Chair), Bill Haney, Richard Randal, Jim Claypool, Mike Bonnsetter 
Members absent: Phil Lamoureux, John Frost
Others present: Troy Weatherby (Association Manager) and Bill Barrett (Board Representative)

1. Approval of Agenda: Approved unanimously
2. July Minutes:  Suggestion was made that the comment be added to item 4.3 of the minutes that no environmental  compliance issues were encountered with the main break. Minutes approved.
3. Old Business: 
a. Went over Monthly Data Reports, no issues.
b. Box culvert construction on Murray Road has been set back another month due to a redesign of the culvert. Redesign was made necessary due to the contractor’s inability to locate the Murray force main that delivers their sewage to the Beaver Lake Treatment Plant.
c. The south water tower currently has two bids for repainting and Troy is waiting on a third bid. The project may be held up until next spring due to notice to the cell service providers located on the tower and addressing protection of their equipment during the project.
d. The generator installation contractor for the wastewater treatment plant is to begin forming and pouring the concrete footings for the generator this week. Installation should then proceed fairly quickly.
4. New Business:
a. Troy will be setting up tours of the water and wastewater facilities for the Committee members in September.
5. Adjourn:  6:45 PM
