Beaver Lake Association Utility Committee
Meeting Minutes of Nov 1, 2018
 
[bookmark: _GoBack]Members Present: Bill Barrett (Bd Rep), John Frost, Jim Wieringa (Chair), Troy Weatherby, Bill Haney and Phil Lamoureux, 
Members absent: Jim Claypool, Richard Randal and Tom Barry

1. No agenda additions, approved unanimously.

2. October Minutes: no revisions, approved.

3. Old business
· 3.1 Monthly report of utility functions and projects.

4. New Business 
· 4.1 	Discussed removal of yard hydrants. Last 2 left to be removed then finished. Fire hydrant installation on Monroe Rd. Complete fire hydrant flushing. 
· 4.2 Finalize plans for painting the south tower.
· 4.3 Valve replacement and exercise main valves. 
· 4.4 Rerouting of sewer line on lot 1629 in progress. Manhole cover on Rock Bluff Road to be raised.

5. Next meeting:  No utility meeting in December. 

Meeting adjourned at 6:40pm

