Beaver Lake Association Utility Committee Meeting Minutes
April 2, 2018
Members present: Jeff Miller (Board Rep.), Troy Weatherby (Managing Director), Jim Wieringa, (Chair), John Frost, Bill Haney, Jim Claypool, and Mike Bonnsetter.
Members absent: Richard Randal, and Phil Lamoureux
· No agenda additions, approved unanimously
· March Minutes approved
· Old business – None
· New Business 
·  Lot #695 water and sewer connections complete.
· Water Plant influent flow meter came in and is scheduled to be installed.
· That area will be inspected during the meter change.
· A forklift will be used to lift the media to the platform.
· Water valve in swimming pool shack was replaced.
· The swimming pool inspection revealed minor paint touch-ups.
· Waterline break on west end of the lake was repaired.
· No lift stations had problems this month.
· Finalizing the south water tower prep for painting. 
· [bookmark: _GoBack]Back-up generator for waste water plant will be finalized sometime between August and September. 
· Meeting adjourned at 6:40p.m.
