Beaver Lake Association Utility Committee Meeting Minutes

April 2, 2018

Members present: Jeff Miller (Board Rep.), Troy Weatherby (Managing Director), Jim Wieringa, (Chair), John Frost, Bill Haney, Jim Claypool, and Mike Bonnsetter.

Members absent: Richard Randal, and Phil Lamoureux

- No agenda additions, approved unanimously

- March Minutes approved

- Old business – None

- New Business

  - Lot #695 water and sewer connections complete.

  - Water Plant influent flow meter came in and is scheduled to be installed.

    - That area will be inspected during the meter change.

    - A forklift will be used to lift the media to the platform.

  - Water valve in swimming pool shack was replaced.

  - The swimming pool inspection revealed minor paint touch-ups.

  - Waterline break on west end of the lake was repaired.

  - No lift stations had problems this month.

  - Finalizing the south water tower prep for painting.

  - Back-up generator for waste water plant will be finalized sometime between August and September.

- Meeting adjourned at 6:40p.m.