
Beaver Lake Association Utility Committee
[bookmark: _GoBack]Meeting Minutes of Sept 4, 2018
 
Members present:  Bill Barret (Bd Rep), Jim Wieringa (Chair), Troy Weatherby, Bill Haney , Phil Lamoureux, Jim Claypool and John Frost
 
Members absent:  Richard Randal & Mike Bonnsetter (resigned)
 
1. No agenda additions, approved unanimously.

2. August Minutes: no revisions, approved.
 
3. Old business, None
 
4. New Business
 
4.1 New generator for sewer plant installed and ready for start-up.  

4.2 Reviewed 5 yr capital budget to be discussed at next utility meeting.
 
4.3 Water towers put on hold til next spring with possibility of doing both at a savings.
 
4.4 Lift station 8- both pumps failed with worn out impellers and volutes. The age was 19 years old.  Two 7.5 hp loaners as replacements. Suggested to keep old ones for parts. 5 years warranties on loaners. Price $15,823. To repair old ones $16,318 and new ones $20,481.
 
4.5  Broken pipe on Dunbar repaired and functioning. Also discussed future yard hydrant removal and main valves replaced.
      
4.6  Mike Bonnsetter resigned and need to send letter of appreciation for his service. Interviewed Tom Barry to be appointed in his place.
 
5. Next meeting : TBA, Meeting adjourned at 7:00 p.m

