Beaver Lake Association Utility Committee Minutes
September 9, 2019
 
Members present: Troy Weatherby (Managing Director), Jim Wieringa (Chair), John Frost, Tom Barry, Richard Randal, Jim Claypool, Phil Lamoureux and Bill Barret (Bd Rep) 
 
Member absent: Bill Haney
 
[bookmark: _GoBack]1. No agenda additions, approved unanimously.
 
2. August minutes: no revisions, approved.
 
3. Old Business
 
3.1 Monthly report of utility functions and projects report.
 
4. New Business
 
4.1 Lift Station 2 had a 4” pipe break PVC fixed.
 
4.2 New computers and software added to water treatment plant. Have a few glitches to iron out. Start and stop not functioning properly. Work on south tower on hold until issue is figured out.
 
4.3 Water samples to be taken in 20 homes built before 1998 to check for lead and copper, which needs to be done every 3 years.
 
4.4 Swimming pool being readied for winter.
 
4.5 5 year Capital Budget Requests discussed.
 
Meeting adjourned at 7:00 pm.
 
Next meeting: Oct 7, 2019 

