Beaver Lake Association Utility Committee Meeting Minutes for August 5, 2019
Members present: Dale Long (Board Rep.), Troy Weatherby (Managing Director), Jim Wieringa, (Chair), John Frost, Bill Haney, Tom Barry.
Members absent: Richard Randal, Jim Claypool, and Phil Lamoureux
· No agenda additions, approved unanimously.
· July Minutes, no revisions approved unanimously.
· Old business – None
· [bookmark: _GoBack]New Business: 
·  No abnormal water loss or wastewater usage for July.
· Installed storm drain at the sewer plant.
· The sewer line in the SW cove was scoped for the possibility of influent water.
· There was too much sediment in line to locate any defects.
· Maintenance crew will clean that line before next scope.
· Installed a new sewer connection on lot # 1009.
· Repaired sewer line at the location of lots 68 and 69.
· For preventative maintenance a vacuum truck will clean out the grinder pump at the clubhouse from sand cumulating. 
· Dredging has gone well in the SW cove.
· Replacement parts for the south water tower are on schedule for September sandblasting and painting. 
· Discussion of the water treatment and waste water rate study our goal is to have these two departments self-supporting. 
· Meeting adjourned at 6:45p.m.
