Beaver Lake Association Utility Committee Meeting Minutes for August 5, 2019

Members present: Dale Long (Board Rep.), Troy Weatherby (Managing Director), Jim Wieringa, (Chair), John Frost, Bill Haney, Tom Barry.

Members absent: Richard Randal, Jim Claypool, and Phil Lamoureux

- No agenda additions, approved unanimously.

- July Minutes, no revisions approved unanimously.

- Old business – None

- New Business:

  - No abnormal water loss or wastewater usage for July.

  - Installed storm drain at the sewer plant.

  - The sewer line in the SW cove was scoped for the possibility of influent water.

    - There was too much sediment in line to locate any defects.

    - Maintenance crew will clean that line before next scope.

  - Installed a new sewer connection on lot # 1009.

  - Repaired sewer line at the location of lots 68 and 69.

  - For preventative maintenance a vacuum truck will clean out the grinder pump at the clubhouse from sand cumulating.

  - Dredging has gone well in the SW cove.

  - Replacement parts for the south water tower are on schedule for September sandblasting and painting.

  - Discussion of the water treatment and waste water rate study our goal is to have these two departments self-supporting.

- Meeting adjourned at 6:45p.m.