Beaver Lake Utility Committee Minutes

November 4, 2019

Members present; Troy Weatherby (Managing Director), Jim Wieringa	(Chair), John Frost, Bill Haney, Phil Lamoureux, Richard Randal, Jim Claypool, Tom Barry and Bill Barret (Bd Rep)

Members absent; none

- No agenda additions, approved unanimously.

- Review minutes from Oct 7, 2019 meeting.

- Old business; Monthly report of Utility functions & Projects report and review

- New Business

  - Discuss the influent sewage from the Village of Murray

- The yearly contract is 18 million gallons per year

- As of October the amount is 1.3 million gallons over the contract

- This equates to $3,790.00

  - Johnson Control was hired to scope the drainage pipe from Lift station 7 		to 8

- 1850 feet was done at a price of $2,500

- Pictures were obtained showing leakage

  - The water treatment plant had software problems over the weekend

- The plant was run manually

- A computer specialist was obtained and found a corroded wire in the electrical system

4.4. The north and south water towers valve replacements and sandblasting 	moved to spring

4.5 Lift station 11

- The lower unit of the pump failed and is the process of being repaired

Meeting adjourned at 7:00 pm.

Next meeting: December 2, 2019 at 6:00 pm.