Beaver Lake Utility Committee Minutes

December 2, 2019

Members present: Troy Weatherby (Managing Director), Jim Wieringa (Chair), John Frost, Bill Haney, Phil Lamoureux, Richard Randal, Jim Claypool, Tom Barry and Bill Barret (Bd Rep)

Members absent: Richard Randal

- No agenda additions, approved unanimously.

- Review minutes from November 4, 2019 meeting.

- Old business; Monthly report of Utility functions & Projects report and review

- New Business

  - Sewage and water information

- Sewage riser failure at Riverdale and Ponca Point

- A ¾ water line breakage at 1173 Beaver Lake Blvd

- Flynn paving received 900 gallons during road repair

  - Budget projects moved to spring of 2020

- Both water towers valve replacement and sandblasting

- Lift stations #4 and #6

4.3. The Board of Directors requested an investigation of the Beaver Lake Handbook. See the recommendations below:

- The BLA committee definitions found in the BLA web page should be placed in By Laws, ArticleV., Committee on page 22

- Covenant, 22 – Each replotted lot is limited to one water and sewer connection from shut-off to provided service to structure

- By Laws, Article V11, Delegation of Fees – remove the water and sewer plant to water and waste water facilities

- III Building Code – W – void information approved grinder pumps and replace with the following:

- - W.  For grinder pumps contact Beaver lake Association for appropriate information regarding distance, elevation and head pressure

Meeting adjourned at 7:00 pm.

Next meeting: TBA