Beaver Lake Utility Committee Minutes
December 2, 2019

[bookmark: _GoBack]Members present: Troy Weatherby (Managing Director), Jim Wieringa (Chair), John Frost, Bill Haney, Phil Lamoureux, Richard Randal, Jim Claypool, Tom Barry and Bill Barret (Bd Rep)									
Members absent: Richard Randal

1. No agenda additions, approved unanimously.

2. Review minutes from November 4, 2019 meeting.

3. Old business; Monthly report of Utility functions & Projects report and review 

4. New Business
4.1 Sewage and water information
· Sewage riser failure at Riverdale and Ponca Point
· A ¾ water line breakage at 1173 Beaver Lake Blvd
· Flynn paving received 900 gallons during road repair

4.2 Budget projects moved to spring of 2020
· Both water towers valve replacement and sandblasting
· Lift stations #4 and #6

4.3. The Board of Directors requested an investigation of the Beaver Lake Handbook. See the recommendations below:
· The BLA committee definitions found in the BLA web page should be placed in By Laws, ArticleV., Committee on page 22
· Covenant, 22 – Each replotted lot is limited to one water and sewer connection from shut-off to provided service to structure
· By Laws, Article V11, Delegation of Fees – remove the water and sewer plant to water and waste water facilities
· III Building Code – W – void information approved grinder pumps and replace with the following:
· - W.  For grinder pumps contact Beaver lake Association for appropriate information regarding distance, elevation and head pressure 

Meeting adjourned at 7:00 pm.

Next meeting: TBA

