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Meeting Minutes for May 6, 2019

Members present: Jim Wieringa Chair, Bill Haney, Troy Weatherby Managing Director, John Frost, Jim Claypool, Tom Barry, Bill Barrnet Board Representative. 

Members absent: Richard Randal, Phil Lamoureux.

No agenda additions, approved unanimously 
April’s minutes: Add a motion to the Board to move on the water and waste rate studies. 
Old Business: none
New Business:
Wastewater is back to normal flow (47.5%). 
During a waterline break our crew had to remove 40 feet of blacktop to access leak.
Hardware/Software update still in work. 
New employee moving very quickly on earning his certifications.  
Swimming pool has a few spots that need repaired before it is filled the company who completed the work last year will repair.
Bio Barge has been delivered.
Wastewater plant we are having difficulty finding places to dump the sludge because of the flooding and planting of this years crops. Sludge has to be trucked out at a higher cost. 
Problems with lift stations #4 and #1, #4 had a tripped circuit breaker and #1 was plugged up with some rags and a large rock. 
Smart lights for lift stations is working good and on schedule for stations #4, #5, & #6. 
South water tower scheduled for paint and preventative repairs in September when water usage slows. 
Lift station #12 is getting a lot of grease that needs to be removed, not sure where it’s coming from and discuss ways of minimizing. 
Meeting adjourned at 7:00

