Beaver Lake Association Utility Committee

Meeting Minutes for May 6, 2019

Members present: Jim Wieringa Chair, Bill Haney, Troy Weatherby Managing Director, John Frost, Jim Claypool, Tom Barry, Bill Barrnet Board Representative.

Members absent: Richard Randal, Phil Lamoureux.

- No agenda additions, approved unanimously

- April’s minutes: Add a motion to the Board to move on the water and waste rate studies.

- Old Business: none

- New Business:

      - Wastewater is back to normal flow (47.5%).

      - During a waterline break our crew had to remove 40 feet of blacktop to access leak.

      - Hardware/Software update still in work.

      - New employee moving very quickly on earning his certifications.

      - Swimming pool has a few spots that need repaired before it is filled the company who completed the work last year will repair.

      - Bio Barge has been delivered.

      - Wastewater plant we are having difficulty finding places to dump the sludge because of the flooding and planting of this years crops. Sludge has to be trucked out at a higher cost.

      - Problems with lift stations #4 and #1, #4 had a tripped circuit breaker and #1 was plugged up with some rags and a large rock.

      - Smart lights for lift stations is working good and on schedule for stations #4, #5, & #6.

      - South water tower scheduled for paint and preventative repairs in September when water usage slows.

      - Lift station #12 is getting a lot of grease that needs to be removed, not sure where it’s coming from and discuss ways of minimizing.

- Meeting adjourned at 7:00