Appeals Committee Minutes
6 October, 2020


A.  Attendance:

1.  Members Present:  Mrs, Pam Curtis (Vice Chairperson), Mr. Mike Chaloupka, Mr. Zack Zimmerman, Mr. Chuck Sweeney, Mr. Steve Oiness, and Mr. Rick Croasdale (Secretary) via telecom.
 
	2.  Staff Present:  Mr. Jim Wieringa (Building Inspector), Mr. Troy Weatherby (Managing Director), Mr. Bill Barrett (Board Representative)
	
	3.  Absentees: None
 
 	4.  Committee Vacancies: One.  

	5.  Guests Present: Mr. Delton Rowe, Mrs. Janet Houston, and Mr. Ron Reineke.

B.  New Business: Mrs, Pam Curtis opened the meeting at 6:05pm and presented the agenda containing one variance and the selection of member to recommend filling the vacancy on the committee.

1.  Variance:  Mr. Delton J. Rowe, 8710 Oakdale Road, lot 777 is requesting a 6 foot variance into the 15 feet setback allowed by the Building Code for placement of his underground propane tank. 

a.  Factors on the case:  As related by discussion and documents provided:

(1)  The tank is an underground type, meets all the required regulations, and planned to be placed at the front of his dwelling next to the garage.  A plot plan was submitted as required by the Building Code.

(2)  Because of the lot and dwelling locations, the only location feasible for the tank is where he is planning to put it.

(3)  If the variance is approved, the tank will meet the setbacks for a dwelling listed in the Covenants and Restrictions, but will be placed 9 feet from the property line instead of the 15 foot allowed for a propane tank as specified in Section III, the Building Codes.  NOTE:  The Covenants and Restrictions do not mention setbacks for propane tanks, only buildings.

(4)  The tank will be placed to clear all water and sanitary lines to meet the 5’ restriction.  The exact location of the water line(s) have not yet been determined, but will be before tank installation. 

(5)  Only part of the tank viewable will be the cap.

    * b.  Discussion and Motion:  After consideration of the facts above, Mr. Sweeney motioned to recommend the Board approve the variance with the stipulation that the water line setback will be adhered to and markers in front and rear of the tank will be placed to show sewer and water lines. .  The motion was seconded by Mr. Oiness and the was passed by the committee.

C.  Old Business:  Committee Membership:

a.  There is one opening on the committee and two Beaver Lake members in good standing interviewed to fill it.  The volunteers were Mrs. Janet Houston and Mr. Ron Reineke.

b.  Both members were interviewed and determined to be highly qualified and motivated to fill the position.  Both had over 20 years of experience serving the Association and both had previous duties on committees and/or the Board of Directors.

    * c.  Discussion and Motion:  After much deliberation, the committee decided to recommend Janet Houston to fill the vacancy.  No motion nor second was actually made, just a vote with two abstentions.

d.  After the nomination, the committee informally elected officers with Mike Chaloupka as Chair, Pam Curtis as Vice Chair, and Rick Croasdale as Secretary.

D.  Adjournment:  A motion was made at 6:50pm to adjourn, seconded, and approved.
