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Meeting Minutes of February 3, 2020

Mr. Wieringa called the meeting to order at 6 p.m.
Members present: Jim Wieringa (Chair), Bill Haney, Jim Claypool, Tom Barry
Members absent: Phil Lamoureux, John Frost, Richard Randal
Others present: Troy Weatherby (Association Manager) and Bill Barrett (Board Representative)
1. Approval of Agenda: Approved unanimously.
2. December Minutes:  Several minor typos noted. Minutes approved.
3. Old Business: 
a. Went over Monthly Data Reports. A year-end sewage bill was delivered to Murray for a 30% overage during the previous 12 months. Murray has indicated that it intends to correct much of their inflow/infiltration problems this summer.
b. Staff has been working on major valve addition and replacement project in anticipation of the South Tower painting project. One new  valve in particular will significantly help isolate customers during the South Tank outage.
c. Staff is currently planning for the replacement of one valve per month this construction season. A large number of valves are in need of replacement.
d. The last yard hydrant in inventory for removal was taken out of service in January.
4. New Business:
a. Troy and staff are continuing to review a proposal from Fournier for a rotary sludge press. Bill Barrett indicated that he would like to see a cost-benefit analysis prepared for the installation.
Adjourn:  6:55 PM
Next Meeting:	March 2, 2020
