[bookmark: _GoBack]Beaver Lake Association Utility Committee Meeting Minutes for March 2, 2020
Mr. Wieringa called the meeting to order at 6 p.m.
Members present: Bill Barrett (Board Rep.), Troy Weatherby (Managing Director), Jim Wieringa, (Chair), John Frost, Bill Haney, Tom Barry and Richard Randal.
Members absent: Jim Claypool, and Phil Lamoureux
· No agenda additions, approved unanimously.
· February Minutes, Under February’s New Business item #4. Change Sentence #2 to read (Beaver Lake Board indicated that they would like to see a cost-benefit analysis prepared for the installation. Minutes approved. 
· Old business – None
· New Business: 
·  Water and waste water facilities operated in the normal flow.
· Beaver Lake received overage money from Murray for the wastewater influent.
· South water tower plans for sandblasting and painting have been finalized. 
· The main valves for the south water tower are due in during the second week of March.
· A drone was flown around the south water tower for a pre inspecting.
· The fire hydrant located at the south tower will be replaced at this time. 
· The water leak at the sewer plant was trace down to a defective fitting.
· Flushed sewer main on Rock Bluff road.
· This area has had a problem with grease buildup.
· Lift Stations #4 and #6’s panel framework should be delivered next week.
· After inspection the Panel frameworks they will be sent out for galvanization.
· Meeting adjourned at 6:50p.m.
