Beaver Lake Association Utility Committee Meeting Minutes for March 2, 2020

Mr. Wieringa called the meeting to order at 6 p.m.

Members present: Bill Barrett (Board Rep.), Troy Weatherby (Managing Director), Jim Wieringa, (Chair), John Frost, Bill Haney, Tom Barry and Richard Randal.

Members absent: Jim Claypool, and Phil Lamoureux

- No agenda additions, approved unanimously.

- February Minutes, Under February’s New Business item #4. Change Sentence #2 to read (Beaver Lake Board indicated that they would like to see a cost-benefit analysis prepared for the installation. Minutes approved.

- Old business – None

- New Business:

  - Water and waste water facilities operated in the normal flow.

  - Beaver Lake received overage money from Murray for the wastewater influent.

  - South water tower plans for sandblasting and painting have been finalized.

    - The main valves for the south water tower are due in during the second week of March.

    - A drone was flown around the south water tower for a pre inspecting.

    - The fire hydrant located at the south tower will be replaced at this time.

  - The water leak at the sewer plant was trace down to a defective fitting.

  - Flushed sewer main on Rock Bluff road.

    - This area has had a problem with grease buildup.

  - Lift Stations #4 and #6’s panel framework should be delivered next week.

    - After inspection the Panel frameworks they will be sent out for galvanization.

- Meeting adjourned at 6:50p.m.