Infrastructure Committee Special Meeting Minutes
April 27, 2021

1. The meeting came to order at 4:30 pm. 

2. Present: Richard Randall, John Frost, Jim Wieringa, Mary Reineke, Sandy Battreall, Tracy Bohan, Carol Goller, Tom Barry (Board Rep), Fred Becker (Board Member), Troy Weatherby (Managing Director)

3. The committee reviewed its working biosolids (sludge) disposal spreadsheet. 

4. Mr. Weatherby referenced the EPA 503 Biosolids Regulations and showed the latest annual lab sludge report.

5. Mr. Randall reported the local landfill rates per ton of dry (dewatered) sludge. 

6. Mr. Weatherby addressed the requirements, means, equipment, advantages, and limitations of both wet and dry sludge application on farm ground. Lengthy discussion followed. 

7. Mr. Weatherby reported the requirements, pros, and cons of constructed drying beds and reed beds for sludge dewatering. Discussion ensued. The committee considered reed beds unsuitable for BLA but will continue to look into drying beds, along with other options. 

8. The committee discussed a rotary press. The committee will review the pilot report before next special meeting. 

9. Next meeting Mr. Weatherby will present recommended operational optimizations of our current process to increase biosolids accumulation to >2%. 

10. Mr. Becker requested an in-progress review of the committee’s study to the board this week. 

11. Mr. Weatherby updated the committee on infrastructure progress (paving; LS 1,4,6; Tower 1) and problems (LS 7, WTP). 

12. Next special meeting TBD. Next regular meeting May 3, 2021. 

13. The meeting adjourned at 5:30 pm.


